## Sheet1
Estimate Quantity (only Figures) | Item Detailed Specification Description | Work Type eg. Earth Work, Electrical works.. etc ( upto 200 Characters) | Item Short Description ( upto 100 Characters) | APSS / Morth Cl. Number ( upto 200 Characters) | Rate (INR) ( Upto 2 Decimals ) | UOM ( upto 50 Characters) | Amount (INR) ( Upto 2 Decimals )
4 | Formation of Horizontal Cut point for 33 KV line excluding pole erection and stays including bolts <(>&<)> nuts etc., | Electrical work | Horizontal Cut point for 33 KV line | As per relevant standard specification | 1759.5 | EA | 7038
930 | Lay-SR 33KV 3x400sqmm UG Cb CC/BT Compsr | Electrical work | Lay-SR 33KV 3x400sqmm UG Cb CC/BT Compsr | As per relevant standard specification | 1175.56 | M | 1093270.8
90 | Raise-SR 33KV 3x400sqmm UG Cb on support | Electrical work | Raise-SR 33KV 3x400sqmm UG Cb on support | As per relevant standard specification | 135.66 | M | 12209.4
2 | ERECTION OF LINES : UG Cables Jointing : Outdoor / Indoor end termination33 KV 3 x 400 Sqmm XLPE Cable | Electrical work | OD/Idoor end termination 33kv 3x400 xlpe | As per relevant standard specification | 2764.76 | EA | 5529.52
2 | ERECTION OF LINES : UG Cables Jointing : Straight through joints 33 KV 3 x 400 Sqmm XLPE Cable | Electrical work | Straight through joint 33kv 3x400 xlpe | As per relevant standard specification | 5700.78 | EA | 11401.56
20 | Supply of 9" B Class with 7.3mm thickness and weight 28.8Kg per meter | Electrical work | S-9" B Class GI pipe 7.3mm thck 28.8Kg/M | As per relevant standard specification | 1113 | M | 22260
6 | S-CI Pipe earthing 50mm dia 2m long | Electrical work | S-CI Pipe earthing 50mm dia 2m long | As per relevant standard specification | 2441 | EA | 14646
6 | ERECTION OF LINES : Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, sand & brick masonry on four sides of the earth pit and plastering to brick masonry work, running of earth wire etc., complete, exclud | Electrical work | ERECT. OF LINES-Providing of earthing | As per relevant standard specification | 1234.2 | EA | 7405.2
45 | S-Earthing GI flat 25x3 mm incl material | Electrical work | S-Earthing GI flat 25x3 mm incl material | As per relevant standard specification | 105 | KG | 4725
22 | CIVIL WORKS :Excavation of pits in all soils except hard rock requiring blasting. 0.75 M x 0.9 M x 1.95 M | Electrical work | EXCAV. OF PIT 0.75 M x 0.9 M x 1.95 M | As per relevant standard specification | 730 | EA | 16060
18 | Errection of 11 M long PSCC pole | Electrical work | Errection of 11 M long PSCC pole | As per relevant standard specification | 4165.28 | EA | 74975.04
11.2 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand and curing etc. Including the cost of cement | Electrical work | Mass concreting of supports incl. cement | As per relevant standard specification | 6579 | M3 | 73684.8
6 | LOADING & UNLOADING 33 KV Pin insulators | Electrical work | LOADING of 33 KV Pin insulators | As per relevant standard specification | 3 | CRT | 18
6 | UNLOADING of 33 KV Pin insulators | Electrical work | UNLOADING of 33 KV Pin insulators | As per relevant standard specification | 3 | CRT | 18
4 | LOADING of 33 & 11 KV Disc insulators | Electrical work | LOADING of 33 & 11 KV Disc insulators | As per relevant standard specification | 2 | CRT | 8
1.3 | Material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | Electrical work | Sup Material for 1st coat Al. Painting. | As per relevant standard specification | 2181 | TO | 2835.3
18 | SubTrnsprt 11M PSCC Pole incl. L&UL<10KM | Electrical work | SubTrnsprt 11M PSCC Pole incl. L&UL<10KM | As per relevant standard specification | 431.97 | EA | 7775.46
20 | Supply of Crane for replacing Equipment | Electrical work | Supply of Crane for replacing Equipment | As per relevant standard specification | 1260 | HR | 25200
3 | Load-11/33KV XLPE UG Cable for all sizes | Electrical work | Load-11/33KV XLPE UG Cable for all sizes | As per relevant standard specification | 1024 | DR | 3072
0.9 | Restring-100 Sqmm SC-3 Conductors | Electrical work | Restring-100 Sqmm SC-3 Conductors | As per relevant standard specification | 9600 | KM | 8640
3 | Unload-11/33KV XLPE UG Cable all sizes | Electrical work | Unload-11/33KV XLPE UG Cable all sizes | As per relevant standard specification | 1024 | DR | 3072
6 | CIVIL WORKS :Excavation of pits in all soils except hard rock requiring blasting. 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") | Electrical work | EXCAVATION OF PIT (2.6" x 2.6" x 6.0") | As per relevant standard specification | 700 | EA | 4200
6 | Sub Transportation of 9.1 Mts PSCC Poles to location from road side. | Electrical work | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | As per relevant standard specification | 407.29 | EA | 2443.74
1.3 | LOADING & UNLOADING M.S.Channels, Angles, Flats & Rods etc., | Electrical work | LOADING of MS Channel,Angles,Flats&Rods | As per relevant standard specification | 221 | TO | 287.3
50 | FABRICATION Cutting Charges for MS Sections per cutMS Channel 100 x 50 mm | Electrical work | Cutting Charges for MS chanl 100x50mm | As per relevant standard specification | 10 | EA | 500
1.1 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site. | Electrical work | Fabrication of struc.with welding. | As per relevant standard specification | 3426 | TO | 3768.6
4 | UNLOADING of 33 <(>&<)> 11 KV Disc insulators | Electrical work | UNLOADING of 33 & 11 KV Disc insulator | As per relevant standard specification | 2 | CRT | 8
42 | LOADING of 33KV Metal parts-bag of 25no | Electrical work | LOADING of 33KV Metal parts-bag of 25no | As per relevant standard specification | 65 | BAG | 2730
2 | Transport of Cond Drum,VCBs >20 & <30Km | Electrical work | Transport of Cond Drum,VCBs >20 & <30Km | As per relevant standard specification | 3691.38 | EA | 7382.76
4 | Rect-Leaning RS Joists 175 x 85 mm | Electrical work | Rect-Leaning RS Joists 175 x 85 mm | As per relevant standard specification | 700 | EA | 2800
4 | ERECTION OF LINES : Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location ex | Electrical work | Erection of RS Joist 175 x 85 mm | As per relevant standard specification | 1800 | EA | 7200
4 | UNLOADING of R.S. Joists 175 x 85 mm | Electrical work | UNLOADING of R.S. Joists 175 x 85 mm | As per relevant standard specification | 50 | EA | 200
4 | Painting of RS Joist, Rail pole including cross arms, clamps with two coats of Al. paint including cost of paint and consumables." | Electrical work | Painting of RS Joist( 2C Al.Paint) | As per relevant standard specification | 656 | EA | 2624
2 | ERECTION OF EQUIPMENT Substations Erection of 33 KV AB Switch including alignment and earthing | Electrical work | Erection of 33kv ABSwitch incl earthing | As per relevant standard specification | 4500 | EA | 9000
6 | ERECTION OF LINES : Providing of RCC collar to existing earth pit.Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M he | Electrical work | ERECT. OF LINES-Providing of RCC collar | As per relevant standard specification | 386 | EA | 2316
4 | UNLOADING of R.S. Joists 175 x 85 mm | Electrical work | UNLOADING of R.S. Joists 175 x 85 mm | As per relevant standard specification | 50 | EA | 200
1.3 | UNLOADING of MS Channel,Angles,Flats&Rod | Electrical work | UNLOADING of MS Channel,Angles,Flats&Rod | As per relevant standard specification | 185 | TO | 240.5
6 | Erec of 9.1 Mts PSCC poles for stuts | Electrical work | Erec of 9.1 Mts PSCC poles for stuts | As per relevant standard specification | 2400 | EA | 14400
2 | Erect-33KV DP Structure with RS Joist | Electrical work | Erect-33KV DP Structure with RS Joist | As per relevant standard specification | 5670 | SET | 11340