## 2nd Copy
E- Procurement Schedule
Name of the work:- Bifurcation of existing 11KV Jawahar Nagar feeder emanating from 33/11KV Moula-Ali SS by laying 0.9KM new 11KV line with Double Run UG Cable along with erection of 1No. 11KV feeder VCB at 33/11KV Moula-Ali SS in Moula-Ali Section of AS Rao Nagar Sub-Division of Sainikpuri Division in Habsiguda Circle under T&D Improvements to original works under Summer Action plan-2025-2026
Sl.No | Estimate Quantity (Only figures) | SAP Code | Item Detailed Specification Description | Work Type eg.Earth Work, Electrical works..etc., (Upto 200 Characters) | Item short Description | APSS/Morth CI.Number (Upto 200 characters) | Rate INR upto 2 Decimals | UOM (upto 50 Characters) | Amount INR (Upto 2 Decimals)
33KV Line:
1 | 0.55 | SWR10133 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ) | Electrical work | TRANSPORT OF STEEL 20 TO 30KM | As per relevent standard specification | 476.34 | TO | 261.987
2 | 0.55 | SMR40009 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. | Electrical work | Sup Material for 1st coat Al. Painting. | As per relevent standard specification | 2181 | TO | 1199.55
3 | 0.55 | SWR10877 | Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Supply of Material | Labour for 1st coat Al. Painting. | As per relevent standard specification | 851 | TO | 468.05
4 | 4 | SWR10393 | Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | Electrical work | Erection of 11kv ABSwitch incl earthing | As per relevent standard specification | 3200 | EA | 12800
5 | 4 | SWR10881 | Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Supply of Material | Painting AB switch OP rods with PO red | As per relevent standard specification | 142 | EA | 568
6 | 4 | SWR12331 | Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | Electrical work | AB Switch Coil Earthing GI No. 8 Wire | As per relevent standard specification | 146.63 | EA | 586.52
7 | 130 | SMR11488 | Supply of earthing pipe with materials | Electrical work | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 117.5 | KG | 15275
8 | 40 | SMR11485 | S-Earthing GI flat 25x3 mm incl material | Supply of Material | S-Earthing GI flat 25x3 mm incl material | As per relevent standard specification | 105 | KG | 4200
9 | 67 | SWR12125 | Running of GI eartn flat of size 25X3mm from all metallic parts of channels, AB Switch, HG fuse set, DTr neutral and LT Distribution box and inter connection of earth pits etc complete | Electrical work | Run-GI Earth Flat 25x3mm from metallic p | As per relevent standard specification | 14.03 | M | 940.01
10 | 4 | SMR11483 | Supply of CI eath pipe with 80mm dia,2.0 M Length | Electrical work | S-CI Pipe earthing 80mm dia 2.75m long | As per relevent standard specification | 2789 | EA | 11156
11 | 4 | SWR10357 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Electrical work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 1234.2 | EA | 4936.8
12 | 4 | SWR10359 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Electrical work | ERECT. OF LINES-Providing of RCC collar | As per relevent standard specification | 386 | EA | 1544
13 | 4 | SWR10238 | Loading of 11KV AB Switch Conventional type | Supply of Material | LOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | EA | 320
14 | 4 | SWR10556 | UNLOADING of 11 KV AB SWCH Con 200/400 A | Electrical work | UNLOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | EA | 320
15 | 860 | SWR11990 | Across the CC/ BT road crossing multi layer road requiring compressor (excluding the cost of Hume pipe) | Supply of Material | Formation of 11kvline vertical cutpoint | As per relevent standard specification | 1449.06 | M | 1246191.6
16 | 860 | SWR10988 | Laying of 2nd cable in excavated trench | Supply of Material | Lay-DR 11KV 3x185sqmm UG Cb CC/BT Compsr | As per relevent standard specification | 204.1 | M | 175526
17 | 20 | SWR12006 | Raising of double run cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) | Electrical work | Lay-2nd Cable in Excavated Trench | As per relevent standard specification | 243.53 | M | 4870.6
18 | 4 | SWR10390 | Making 11 KV 3x185 Sqmm Cable Out Door/Indoor end termination | Electrical work | Raise-DR 11KV 3x185sqmm UG Cb on support | As per relevent standard specification | 2370.63 | EA | 9482.52
19 | 8 | SWR11230 | Loading of 11KV/33KV XLPE UG Cable for all sizes | Electrical work | OD/Idoor end termination 11kv 3x185 xlpe | As per relevent standard specification | 1024 | DR | 8192
20 | 8 | SWR11231 | Un loading of 11KV/33KV XLPE UG Cable for all sizes | Electrical work | Load-11/33KV XLPE UG Cable for all sizes | As per relevent standard specification | 1024 | DR | 8192
21 | 150 | SMR40081 | Un loading of 11KV/33KV XLPE UG Cable for all sizes | Electrical work | Unload-11/33KV XLPE UG Cable all sizes | As per relevent standard specification | 1344 | M | 201600
22 | 20 | SWR11004 | Laying of11KV XLPE UG cable Double Run of Size in Hard Rock(1.05*0.5x1=0.525cum) | Electrical work | S-6" B Class GI pipe 5mm thck 20Kg/M | As per relevent standard specification | 1194 | RMT | 23880
23 | 4 | SWR10653 | Formation of Cut point for 11 KV Single Circuit line excluding pole erection and stays | Civil Work | Fab Back clamps with 50 x 6 mm MS Flat | As per relevent standard specification | 1435.81 | EA | 5743.24
24 | 32 | SWR10320 | Back clamps with 50 x 6 mm MS Flat | Electrical work | Fix-Side/Cross Arm incl strut fr 11KV | As per relevent standard specification | 16 | EA | 512
25 | 8 | SWR11269 | Fixing of Side Arm along with Cross Arm including angle strut up to 5 feet 11 KV | Electrical work | Cutting Charges for MS angle all sizes | As per relevent standard specification | 455 | EA | 3640
26 | 8 | SWR10296 | MS Angle of all sizes | Electrical work | FABR-Drilling of holes upto 20 mm dia 4 | As per relevent standard specification | 7 | EA | 56
27 | 102 | SWR10307 | MS Channel, Angles and flat | Electrical work | UNLOADING of MS Channel,Angles,Flats&Rod | As per relevent standard specification | 4 | EA | 408
28 | 0.55 | SWR10524 | Un loading of M.S.Channels, Angles, Flats & Rods etc., | Civil Work | LOADING of MS Channel,Angles,Flats&Rods | As per relevent standard specification | 185 | TO | 101.75
29 | 0.55 | SWR10206 | Loading of M.S.Channels, Angles, Flats & Rods etc., | Electrical work | LOADING of Bolts&Nuts all sizes. | As per relevent standard specification | 221 | TO | 121.55
30 | 4 | SWR10343 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation | Electrical work | UNLOADING of Bolts&Nuts all sizes. | As per relevent standard specification | 2400 | EA | 9600
31 | 4 | SWR11039 | 9.1 Mtrs PSCC Poles 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") | Civil Work | ERECTION OF LINES-Erection of 9.1M Pole | As per relevent standard specification | 928 | EA | 3712
32 | 2.16 | SWR10356 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. | Electrical work | Exca Hard pit w/o blast 0.76X0.76X1.83M | As per relevent standard specification | 6579 | M3 | 14210.64
33 | 4 | SWR20308 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) | Electrical work | Mass concreting of supports incl. cement | As per relevent standard specification | 407.29 | EA | 1629.16
34 | 6 | SWR10386 | Straight through joint 11kv 3x185 xlpe | Electrical work | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | As per relevent standard specification | 3725.45 | EA | 22352.7
35 | 4 | SWR11152 | Un loading of 33/11KV XLPE UG Cable End Termination Kits for all sizes | Electrical work | Straight through joint 11kv 3x185 xlpe | As per relevent standard specification | 4 | EA | 16
36 | 6 | SWR11153 | Un loading of 33/KV XLPE UG CableStraight Through Joint Kits for all sizes | Electrical work | Un-loading of 11/33 KV IN/OUT door kits | As per relevent standard specification | 4 | EA | 24
37 | 1 | SWR10461 | Erection of 11 KV VCB with Control Panel | Electrical work | Un-loading 11/33KV Straight thr jointkit | As per relevent standard specification | 12000 | EA | 12000
38 | 4 | SMR11482 | Supply of CI earth pipe 100 mm dia, 2.75 mt long thickness 10mm with flange as per specication | Electrical work | Erection of 11kv VCB | As per relevent standard specification | 3486 | EA | 13944
39 | 500 | SWR11879 | Laying of 4 core/10 core 2.5 sq. mm.Copper control cable in aready excavation trench including cost of providing single compress glands at both ends | Electrical work | S-CI Pipe earthing 100mm dia 2.75m long | As per relevent standard specification | 27 | M | 13500
40 | 70 | SMR11488 | S-GI Bolts & Nuts,Washers etc., | Electrical work | Lay-4C/10C 2.5Sqmm Control Cable | As per relevent standard specification | 117.5 | KG | 8225
41 | 1 | SWR10942 | Wirring, commissioning and testing of Outdoor Sub-station switchgear duly conducting the pre ommissioning test as per relevent standards & issue of certificate by CEIG authorised testing Engineer | Electrical work | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 1825 | EA | 1825
42 | 2 | SWR10238 | Loading of 11KV AB Switch Conventional type | Supply of Material | Testing of Outdoor SS switchgear | As per relevent standard specification | 80 | EA | 160
43 | 15 | SMR40025 | Supply of Alluminum PT clamps conforming to A6 of IS 617, with hot dip galvanised bolts and nuts suitable for single zebra / Panther | Supply of Material | Ex of Hard pit w/o blast 0.75X0.9X1.95M | As per relevent standard specification | 368 | EA | 5520
44 | 1 | SMR40070 | Danger boards with clamps | Electrical work | LOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 116 | EA | 116
45 | 15 | SWR10917 | Labour for Fixing of all types of clamps | Electrical work | Sup PT clamps for single zebra / Panther | As per relevent standard specification | 65 | EA | 975
46 | 2 | SWR10393 | Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | Electrical work | Supply of Danger boards with clamps | As per relevent standard specification | 3200 | EA | 6400
47 | 0.5 | SWR11861 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) | Electrical work | Labour for Fixing of all types of clamps | As per relevent standard specification | 3299.7 | EA | 1649.85
48 | 1 | SWR10199 | Loading of 11 KV VCBs along with Panel boards | Electrical work | Erection of 11kv ABSwitch incl earthing | As per relevent standard specification | 1024 | EA | 1024
49 | 1 | SWR10517 | UNLOADING of 11 KV VCBs&Panel boards | Electrical work | Transport of Cond Drum,VCBs >10 & <20Km | As per relevent standard specification | 1044.48 | EA | 1044.48
50 | 2 | SWR10556 | UNLOADING of 11 KV AB SWCH Con 200/400 A | Supply of Material | LOADING of 11 KV VCBs&Panel boards | As per relevent standard specification | 80 | EA | 160
51 | 0.67 | SWR10206 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation | Electrical work | UNLOADING of 11 KV VCBs&Panel boards | As per relevent standard specification | 221 | TO | 148.07
52 | 0.67 | SWR10524 | Loading of M.S.Channels, Angles, Flats & Rods etc., | Electrical work | UNLOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 185 | TO | 123.95
53 | 3 | SWR10265 | Loading of 11 KV, 10 KA LAs Line type | Supply of Material | Erection of RS Joist 150 x 150 mm | As per relevent standard specification | 32 | EA | 96
54 | 3 | SWR10583 | Un loading of 11 KV, 10 KA LAs Line type | Electrical work | LOADING of RSJoists150 x 150 mm/RailPole | As per relevent standard specification | 32 | EA | 96
55 | 500 | SWR11701 | Loading of PVC Control Cable 10 Core | Civil Work | UNLOADING of RSJoists150 x150 mm/RailPol | As per relevent standard specification | 1 | M | 500
56 | 500 | SWR11712 | Un loading of PVC Control Cable 10 Core | Supply of Material | LOADING of MS Channel,Angles,Flats&Rods | As per relevent standard specification | 1.02 | M | 510
57 | 4 | SWR10359 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Electrical work | UNLOADING of MS Channel,Angles,Flats&Rod | As per relevent standard specification | 386 | EA | 1544
58 | 0.25 | SWR10869 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | Supply of Material | LOADING of 11 KV, 10 KA LAs Line type | As per relevent standard specification | 3426 | TO | 856.5
59 | 6 | SMR11915 | Supply of Tension Hardware 3 Bolted for single Zebra/panther with 150 mm spacing. | Electrical work | UNLOADING of 11 KV, 10 KA LAs Line type | As per relevent standard specification | 2055 | SET | 12330
60 | 6 | SMR40011 | Supply of Alluminum alloy T clamps conforming to A6 of IS 617, 4 bolted with hot dip galvanised bolts and double nuts with spring and flat washers of size M10 x 65 i.e(3/8" x 21/2 " to suit for panther ACSR on all three ways /on one side and Zebra ACSR on take off side or any other combination for carrying 800 A current rating | Supply of Material | Load-PVC Control Cable 10C | As per relevent standard specification | 299 | EA | 1794
61 | 3 | SMR22473 | Supply of I Bolts | Electrical work | UnLoad-PVC Control Cable 10C | As per relevent standard specification | 294 | EA | 882
62 | 0.25 | SMR40009 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. | Electrical work | Cutting Charges for RS joist 150x150mm | As per relevent standard specification | 2181 | TO | 545.25
63 | 0.25 | SWR10877 | Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Electrical work | FABR-Drilling of holes upto 20 mm dia 4 | As per relevent standard specification | 851 | TO | 212.75
64 | 0.25 | SMR40010 | (*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | Electrical work | ERECT. OF LINES-Providing of RCC collar | As per relevent standard specification | 1293 | TO | 323.25
65 | 0.25 | SWR10879 | (*) Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | Electrical work | Excavate-Pit in Soil except Hrd Rck | As per relevent standard specification | 482 | TO | 120.5
66 | 38.29 | SWR10920 | Laying of earth mat including excavation of trenches of depth 600mm, welding, connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication. | Electrical work | Fabrication of struc.with welding. | As per relevent standard specification | 65 | RMT | 2488.85
67 | 66.67 | SWR10919 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc. | Electrical work | S-Tension HW 3Bolt 1Zebra/Pnthr 150mm | As per relevent standard specification | 41 | RMT | 2733.47
68 | 100 | SWR12510 | Cable terminations to the switch gear marshalling boxes/panel terminal blocks/control and relay panels LT AC panel including providing suitable ferrules and lugs as per specification (including cost of ferrules, lugs and glands) | Electrical work | Coping & Muffing-Iron Pole | As per relevent standard specification | 27 | EA | 2700
69 | 1 | SWR11089 | Paint of coping with 2 coats of white cement incl cost of paints etc. | Electrical work | Sup T clamp LM6 Al alloy of 12 mm, 800 A | As per relevent standard specification | 48 | EA | 48
70 | 2 | SWR12331 | Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | Electrical work | Supply of I-Bolts | As per relevent standard specification | 146.63 | EA | 293.26
71 | 2 | SWR10881 | Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Electrical work | Sup Material for 1st coat Al. Painting. | As per relevent standard specification | 142 | EA | 284
72 | 4 | SWR10357 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Electrical work | Labour for 1st coat Al. Painting. | As per relevent standard specification | 1234.2 | EA | 4936.8
73 | 20 | SMR11485 | Supply of GI Flat 25X3 mm | Electrical work | Sup Material for 2nd coat Al. Painting. | As per relevent standard specification | 105 | KG | 2100
74 | 1 | SWR10732 | Con of Plinth for 11kv VCB 1.8x1.8x0.75m | Supply of Material | Labour for 2nd coat Al. Painting. | As per relevent standard specification | 27629 | EA | 27629
75 | 1 | SWR10204 | Loading of R.S. Joists 175 x 85 mm | Supply of Material | Laying of earth mat,excavation 75x 8mm | As per relevent standard specification | 76 | EA | 76
76 | 1 | SWR10522 | Un loading of R.S. Joists 175 x 85 mm | Electrical work | Earthing for raisers of SS Flat 50x6 mm. | As per relevent standard specification | 50 | EA | 50
77 | 1 | SWR10346 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation | Supply of Material | L-Cable Termination to Switchgear | As per relevent standard specification | 1934 | EA | 1934
78 | 1 | SWR11040 | 11 Mtrs PSCC Poles/ Box poles 0.75 M x 0.9 M x 1.95 M | Electrical work | Ptg of coping with 2cts white cmnt inclu | As per relevent standard specification | 990.68 | EA | 990.68
79 | 1 | SWR10398 | Erection of 11 KV LAS line type including earthing | Electrical work | AB Switch Coil Earthing GI No. 8 Wire | As per relevent standard specification | 505 | SET | 505
80 | 10 | SWR10404 | Stringing of bus with panther conductor including jumpering etc., complete to all the equipment in SS fixing to all clamps and equipment.(3 Conductors) | Electrical work | Painting AB switch OP rods with PO red | As per relevent standard specification | 327.68 | M | 3276.8
81 | 50 | SWR11220 | Loading of Unwinding of panther conductor from main drum and recoiling | Electrical work | Supply & Spreading of 20mm HBG metal | As per relevent standard specification | 3 | M | 150
82 | 3 | SWR10264 | Loading of 11 KV, 10 KA LAs Station type | Civil Work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 32 | EA | 96
83 | 3 | SWR10582 | Un loading of 11 KV, 10 KA LAs Station type | Supply of Material | OD/Idoor end termination 11kv 3x185 xlpe | As per relevent standard specification | 32 | EA | 96
84 | 1 | SWR10397 | Erection of 11 KV LAS station type including earthing | Electrical work | Raise-DR 11KV 3x185sqmm UG Cb on support | As per relevent standard specification | 559 | SET | 559
85 | 3.888 | SWR20768 | Earth work excavation of in all soils except hard rock requiring blasting. | Electrical work | S-4" BClass GI pipe 3.65mm thck 12.2Kg/M | As per relevent standard specification | 345 | M3 | 1341.36
Total Service Cost: | [8 empty] | 1933551.497
GST 18%: | [8 empty] | 348039.2695
G. TOTAL: | [8 empty] | 2281590.7665

## Sheet1
1 | SWR10149 | Transport of steel including line materials such as cross arms, clamps, hardware, cable (loose) and other line materials (Including loading and unloading) | 0.13 | TO | 527.34 | 68.5542
2 | SWR11863 | Transport of Cond Drum,VCBs >30 & <50Km | 1 | EA | 4372.74 | 4372.74
3 | SMR11487 | Providing of M.S. bolts and nuts, washers etc., of different sizes as per requirement | 5 | KG | 91.25 | 456.25
4 | SWR11974 | Lay-DR 11KV 3x185sqmm UG Cb HG/BC/CC/BT | 1840 | M | 631.06 | 1161150.4
5 | SWR34252 | S&R 25x6mm GI Strip for Earthing | 10 | M | 115 | 1150
6 | SWR12006 | Raise-DR 11KV 3x185sqmm UG Cb on support | 60 | M | 243.53 | 14611.8
7 | SWR10357 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite powder, earth, running of earth wire etc., complete, including cost of bentonite powder. | 2 | EA | 1234.2 | 2468.4
8 | SMR11483 | Cost of CI pipe 80 mm dia, 2 mt Length thickness 8mm with flange | 2 | EA | 2789 | 5578
9 | SWR11230 | 11KV/33KV XLPE UG Cable for all sizes | 12 | DR | 1024 | 12288
10 | SWR11231 | 11KV/33KV XLPE UG Cable for all sizes | 12 | DR | 1024 | 12288
11 | SWR10206 | M.S.Channels, Angles, Flats & Rods etc., | 0.13 | TO | 221 | 28.73
12 | SWR10524 | M.S.Channels, Angles, Flats & Rods | 0.13 | TO | 185 | 24.05
13 | SMR11488 | S-GI Bolts & Nuts,Washers etc., | 15 | KG | 117.5 | 1762.5
14 | SWR10988 | Lay-2nd Cable in Excavated Trench | 1840 | M | 204.1 | 375544
15 | SMR40081 | S-6" B Class GI pipe 5mm thck 20Kg/M | 80 | M | 1344 | 107520
16 | SWR10390 | OD/Idoor end termination 11kv 3x185 xlpe | 8 | EA | 2370.63 | 18965.04
17 | SWR10385 | Straight through joint 11kv 3x185 xlpe | 8 | EA | 3725.45 | 29803.6
18 | SWR11152 | Un-loading of 11/33 KV IN/OUT door kits | 8 | EA | 4 | 32
19 | SWR11153 | Un-loading 11/33KV Straight thr jointkit | 8 | EA | 4 | 32
20 | SWR10615 | LOADING of 11KV 3 Way RMU | 1 | EA | 907.8 | 907.8
21 | SWR10629 | UNLOADING of 11KV 3 Way RMU | 1 | EA | 907.8 | 907.8
22 | SWR10664 | Erection of 11KV 3 Way RMU | 1 | EA | 2051.48 | 2051.48
23 | SWR20871 | Construction of plinth for 3way RMUs etc | 1 | EA | 6000 | 6000
24 | SWR10642 | Fabricate&Paint-175x85/150x75mm RS Joist | 2 | EA | 512.55 | 1025.1
25 | SWR10109 | EXCAVATION OF PIT(3.0" x 3.0" x 7.6") | 2 | EA | 842.78 | 1685.56
26 | SWR11267 | Erect-12Meter Box pole | 2 | EA | 3901.37 | 7802.74
27 | SWR10641 | Painting of RS Joist( 2C Al.Paint) | 2 | EA | 656 | 1312
28 | SWR11890 | Coping & Muffing-Iron Pole | 0.062 | M3 | 3893 | 241.366
29 | SWR10204 | LOADING of R.S. Joists 175 x 85 mm | 4 | EA | 76 | 304
30 | SWR10522 | UNLOADING of R.S. Joists 175 x 85 mm | 4 | EA | 50 | 200
31 | SWR10356 | Mass concreting of supports incl. cement | 2.1 | M3 | 6579 | 13815.9
32 | SWR10869 | Fabrication of struc.with welding. | 0.53 | TO | 3426 | 1815.78
33 | SWR10393 | Erection of 11kv ABSwitch incl earthing | 2 | EA | 3200 | 6400
34 | SWR10881 | Painting AB switch OP rods with PO red | 2 | EA | 142 | 284
35 | SWR10397 | Erect of 11kv LA stn type incl earthing | 1 | SET | 559 | 559
36 | SWR10398 | Erect of 11kvLA line type incl earthing | 1 | SET | 505 | 505
37 | SWR20557 | Erection of post type insulators | 3 | EA | 50 | 150
38 | SWR10404 | Stringing of bus with panther conductor | 10 | M | 327.68 | 3276.8
39 | SWR10732 | Con of Plinth for 11kv VCB 1.8x1.8x0.75m | 1 | EA | 27629 | 27629
40 | SWR10461 | Erection of 11kv VCB | 1 | EA | 12000 | 12000
41 | SWR10884 | Conn. of equip/bus single zebra/panther | 10 | EA | 224 | 2240
42 | SMR40019 | SupPad clamps 100X100X15 mm 1 panth 600A | 18 | EA | 264 | 4752
43 | SMR40011 | Sup T clamp LM6 Al alloy of 12 mm, 800 A | 9 | EA | 299 | 2691
44 | SWR10917 | Labour for Fixing of all types of clamps | 27 | EA | 65 | 1755
45 | SWR11879 | Lay-4C/10C 2.5Sqmm Control Cable | 350 | M | 27 | 9450
46 | SWR11701 | Load-PVC Control Cable 10C | 350 | M | 1 | 350
47 | SWR11712 | UnLoad-PVC Control Cable 10C | 350 | M | 1.02 | 357
48 | SWR10920 | Laying of earth mat,excavation 75x 8mm | 31.91 | RMT | 65 | 2074.15
49 | SWR10919 | Earthing for raisers of SS Flat 50x6 mm. | 83.33 | RMT | 41 | 3416.53
50 | SMR22473 | Supply of I-Bolts | 3 | EA | 294 | 882
51 | SWR10423 | Fixing of I-bolts | 3 | EA | 20 | 60
52 | SWR20524 | Testing & Commissioning of Equipment | 1 | EA | 2660 | 2660
53 | SMR11482 | S-CI Pipe earthing 100mm dia 2.75m long | 5 | EA | 3486 | 17430
54 | SWR10357 | ERECT. OF LINES-Providing of earthing | 5 | EA | 1234.2 | 6171
55 | SWR10359 | ERECT. OF LINES-Providing of RCC collar | 5 | EA | 386 | 1930
56 | SMR11488 | S-GI Bolts & Nuts,Washers etc., | 70 | KG | 117.5 | 8225
57 | SWR10963 | Painting of Name Plates for any equipmen | 4 | EA | 122 | 488
58 | SMR40009 | Sup Material for 1st coat Al. Painting. | 0.88 | TO | 2181 | 1919.28
59 | SWR10877 | Labour for 1st coat Al. Painting. | 0.88 | TO | 851 | 748.88
60 | SMR40010 | Sup Material for 2nd coat Al. Painting. | 0.88 | TO | 1293 | 1137.84
61 | SWR10879 | Labour for 2nd coat Al. Painting. | 0.88 | TO | 482 | 424.16
62 | SWR10238 | LOADING of 11 KV AB SWCH Con 200/400 A | 2 | EA | 80 | 160
63 | SWR10556 | UNLOADING of 11 KV AB SWCH Con 200/400 A | 2 | EA | 80 | 160
64 | SWR10206 | LOADING of MS Channel,Angles,Flats&Rods | 0.88 | TO | 221 | 194.48
65 | SWR10524 | UNLOADING of MS Channel,Angles,Flats&Rod | 0.88 | TO | 185 | 162.8
66 | SWR10133 | TRANSPORT OF STEEL 20 TO 30KM | 1.88 | TO | 476.34 | 895.5192
67 | SWR10265 | LOADING of 11 KV, 10 KA LAs Line type | 3 | EA | 32 | 96
68 | SWR10583 | UNLOADING of 11 KV, 10 KA LAs Line type | 3 | EA | 32 | 96
69 | SWR11862 | Transport of Cond Drum,VCBs >20 & <30Km | 1 | EA | 3691.38 | 3691.38
70 | SWR10264 | LOADING of 11 KV,10 KA LAs Station type | 3 | EA | 32 | 96
71 | SWR10582 | UNLOADING of 11 KV,10 KA LAs Station typ | 3 | EA | 32 | 96
72 | SWR10199 | LOADING of 11 KV VCBs&Panel boards | 1 | EA | 1024 | 1024
73 | SWR10517 | UNLOADING of 11 KV VCBs&Panel boards | 1 | EA | 1044.48 | 1044.48
74 | SMR40081 | S-6" B Class GI pipe 5mm thck 20Kg/M | 20 | M | 1344 | 26880
75 | SMR11485 | S-Earthing GI flat 25x3 mm incl material | 40 | KG | 105 | 4200
76 | SWR12125 | Run-GI Earth Flat 25x3mm from metallic p | 70 | M | 14.03 | 982.1
77 | SMR11480 | S-GI pipe earthing 40mm dia 2m long | 6 | EA | 698 | 4188
78 | SWR10357 | ERECT. OF LINES-Providing of earthing | 6 | EA | 1234.2 | 7405.2
79 | SWR10359 | ERECT. OF LINES-Providing of RCC collar | 6 | EA | 386 | 2316
80 | SWR33015 | Excavation in Ordinary Soil | 1.35 | M3 | 513 | 692.55
81 | SWR33028 | PCC with 40mm Metal (1:4:8) | 0.225 | M3 | 5556 | 1250.1
82 | SWR33041 | CRS Masonary CM(1:6) 2nd Sort | 2.37 | M3 | 5829 | 13814.73
83 | SWR33057 | S&Spreading of 20mm HBG Metal | 3.75 | M3 | 2041 | 7653.75
84 | SWR12331 | AB Switch Coil Earthing GI No. 8 Wire | 2 | EA | 146.63 | 293.26
85 | SWR12006 | Raise-DR 11KV 3x185sqmm UG Cb on support | 15 | M | 243.53 | 3652.95
86 | SWR10390 | OD/Idoor end termination 11kv 3x185 xlpe | 4 | EA | 2370.63 | 9482.52
87 | SMR40025 | Sup PT clamps for single zebra / Panther | 18 | EA | 368 | 6624
88 | SWR11998 | Lay-DR 11KV 3x185sqmm UG Cb FootPath GI | 10 | M | 571.2 | 5712
89 | SWR10988 | Lay-2nd Cable in Excavated Trench | 10 | M | 204.1 | 2041