## E-2026-07-05
Schedule(WBS No:E-2026-07-05-01-02-001)
Name of the work: Extension of 33KV HT supply under Cat-IX for CMD 6000KVA with a CL of 9120KW to M/s. Depot Manager TGSRTC, Shamirpet Depot,Shamirpet for a CMD of 6000KVA with dedicated feeder from 132KV SS Medchal in Shamirpet Section of Shamirpet Sub Division of Medchal Division of Medchal Circle under Capital Works.
S.No. | SSR CODES | Estimate Quantity (Only figures) | Particulars | Work Type eg., Earth Work, Electrical works..etc., (Upto 200 Characters) | Item Short Description | APSS/Morth CI.Number (Upto 200 characters) | Rate INR upto 2 Decimals | UOM (upto 50 Characters) | Amount INR (Upto 2 Decimals)
1 | SWR10108 | 6 | Excavation of pits in all soils except hard rock requiring blasting 11 Mtrs PSCC Poles/ Box poles 0.75 M x 0.9 M x 1.95 M (1.31 cum) | Excavation work | Excavation of work | As per relevent standard specification | 730 | EA | 4380
2 | SWR11267 | 6 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation.Box pole 12 Mtr | Erection work | Erection work | As per relevent standard specification | 3901.37 | EA | 23408.22
3 | SWR10640 | 12 | Painting of R.S Joist,Box poles including cross arms and clamps with one coat of red oxid and two coats of Al.paint including cost of paint and consumables | Erection work | Erection work | As per relevent standard specification | 1132 | EA | 13584
4 | SWR10204 | 12 | Loading of R.S. Joists 175 x 85 mm | Loading work | Loading of work | As per relevent standard specification | 76 | EA | 912
5 | SWR10522 | 12 | Un loading of R.S. Joists 175 x 85 mm | UNLoading work | UNLoading of work | As per relevent standard specification | 50 | EA | 600
6 | SWR10356 | 4.32 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc.Including the cost of cement | Erection work | Erection work | As per relevent standard specification | 6579 | M3 | 28421.28
7 | SWR10642 | 14 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable | Erection work | Erection of work | As per relevent standard specification | 512.55 | EA | 7175.7
8 | SWR10133 | 6.6 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading )Above 20 KM and upto 30 KM | Supply work | Supply of work | As per relevent standard specification | 476.34 | TO | 3143.844
9 | SWR10869 | 3.1 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | Supply work | Supply of work | As per relevent standard specification | 3426 | TO | 10620.6
10 | SMR40009 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete.Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | Erection work | Erection of work | As per relevent standard specification | 2181 | TO | 6761.1
11 | SWR10877 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete.Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Supply work | Supply of work | As per relevent standard specification | 851 | TO | 2638.1
12 | SMR40010 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete.*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | Erection work | Erection of work | As per relevent standard specification | 1293 | TO | 4008.3
13 | SWR10879 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | Erection work | Erection of work | As per relevent standard specification | 482 | TO | 1494.2
14 | SWR10399 | 1 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc.Erection of 33 KV CTs | Erection work | Erection of work | As per relevent standard specification | 1079 | SET | 1079
15 | SWR10401 | 1 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc.Erection of 33 KV single phase PTs | Erection work | Erection of work | As per relevent standard specification | 1079 | SET | 1079
16 | SWR12271 | 3 | Erection of 33 KV AB Switch in already existing sub-stations (involving LCs) | Erection work | Erection of work | As per relevent standard specification | 5342.25 | EA | 16026.75
17 | SWR10200 | 6 | Loading of 33 KV CTs/ PTs | Loading work | Loading of work | As per relevent standard specification | 165 | EA | 990
18 | SWR10518 | 6 | UNLoading of 33 KV CTs/ PTs | UNLoading work | UNLoading of work | As per relevent standard specification | 128 | EA | 768
19 | SWR10239 | 3 | Loading of 33KV 800 Amps AB Switch | Loading work | Loading of work | As per relevent standard specification | 126 | EA | 378
20 | SWR10557 | 3 | Un Loading of 33KV 800 Amps AB Switch | UNLoading work | UNLoading of work | As per relevent standard specification | 79 | EA | 237
21 | SWR20177 | 1 | Erect of HT Metering Box incl box cost | Erection work | Erection of work | As per relevent standard specification | 5000 | EA | 5000
22 | SWR24843 | 1 | Erection of HT Trivector Meter | Erection work | Erection of work | As per relevent standard specification | 1000 | EA | 1000
23 | SWR10734 | 1 | Construction of Plinth HTTVR meter 0.6x0.3x0.9m | Erection work | Erection of work | As per relevent standard specification | 5202 | EA | 5202
24 | SWR10396 | 2 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc. Erection of 33 KV LAS station/Line type including earthing | Erection work | Erection of work | As per relevent standard specification | 880 | SET | 1760
25 | SWR20685 | 6 | Cement concrete 1:3:6 ration with 40 MML HBG metal including the cost of all materials and labour complete 1.8 x 1.8 x 0.75 cum for VCB Plinth | Erection work | Erection of work | As per relevent standard specification | 5160 | M3 | 30960
26 | SWR10460 | 1 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc.Erection of 33 KV VCB with Control Panel | Erection work | Erection of work | As per relevent standard specification | 12500 | EA | 12500
27 | SMR11482 | 6 | Supply of earthing pipe with aterials.Supply of CI earth pipe 100 mm dia, 2.75 mt long thickness 10mm with flange as per specication | Supply work | Supply of work | As per relevent standard specification | 3486 | EA | 20916
28 | SMR11485 | 90 | Supply of earthing pipe with materials.Supply of GI Flat 25X3 mm | Supply work | Supply of work | As per relevent standard specification | 105 | KG | 9450
29 | SWR10359 | 6 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Erection work | Erection of work | As per relevent standard specification | 386 | EA | 2316
30 | SWR10357 | 6 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Erection work | Erection of work | As per relevent standard specification | 1234.2 | EA | 7405.2
31 | SWR10198 | 1 | Loading of 33 KV VCBs along with Panel boards | Loading work | Loading of work | As per relevent standard specification | 1024 | EA | 1024
32 | SWR10516 | 1 | Un Loading of 33 KV VCBs along with Panel boards | UNLoading work | UNLoading of work | As per relevent standard specification | 1044.48 | EA | 1044.48
33 | SWR11862 | 2 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates.Above 20 Km and upto 30 Km with Lorry for each trip | Supply work | Supply of work | As per relevent standard specification | 3691.38 | EA | 7382.76
34 | SWR10919 | 166.7 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc.M.S./ G.I. Flat 50x6mm / 50 x 8 mm ( Above ground) | Erection work | Erection of work | As per relevent standard specification | 41 | RMT | 6834.7
35 | SWR10920 | 31.9 | Laying of earth mat including excavation of trenches of depth 600mm, welding, connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication. 75x 8mm MS Flat / GI Flat. | Erection work | Erection of work | As per relevent standard specification | 65 | RMT | 2073.5
36 | SWR10963 | 1 | Painting of Name Plates for any equipment | Erection work | Erection of work | As per relevent standard specification | 122 | EA | 122
37 | SWR11879 | 750 | Laying of 4 core/10 core 2.5 sq. mm.Copper control cable in aready excavation trench including cost of providing single compress glands at both ends . | Erection work | Erection of work | As per relevent standard specification | 27 | M | 20250
38 | SWR23224 | 5.292 | Excavate-Pit for 33KV VCB | Erection work | Erection of work | As per relevent standard specification | 331 | M3 | 1751.652
39 | SMR11488 | 100 | Supply of earthing pipe with materials.Supply of GI Bolts & Nuts etc | Supply work | Supply of work | As per relevent standard specification | 117.5 | KG | 11750
40 | SMR40011 | 12 | Supply of clamps as per IS 5561- 1970 , 12mm thickness with Alluminum and Alluminum alloy conforming to A6 of IS 617 1994 & hot dip galvanised with Nuts & Bolts including spring washers conforming to IS 2633-1964, IS 1363-1967, IS1367-1961)Supply of Alluminum alloy T clamps conforming to A6 of IS 617, 4 bolted with hot dip galvanised bolts and double nuts with spring and flat washers of size M10 x 65 i.e(3/8" x 21/2 " to suit for panther ACSR on all three ways /on one side and Zebra ACSR on take off side or any other combination for carrying 800 A current rating . | Supply work | Supply of work | As per relevent standard specification | 299 | EA | 3588
41 | SMR40021 | 18 | Supply of Alluminum alloy Pad clamps conforming to A6 of IS 617, 4 bolted with hot dip galvanised bolts and double nuts with spring and flat washers of size M10 x 65 i.e(3/8" x 21/2 " to suit for twin panther ACSR/Zebra of pad size 100 X 100 X 15mm for carrying 1200 A current rating . | Supply work | Supply of work | As per relevent standard specification | 284 | EA | 5112 | SMR40021
42 | SWR10917 | 30 | Labour for Fixing of all types of clamps | Supply work | Supply of work | As per relevent standard specification | 65 | EA | 1950
43 | SWR10881 | 3 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.(*) Note:-The requirement of 2nd coat is to be justified by the concerned Divisional Engineer /Executive Engineer before execution of this work.Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Erection work | Erection of work | As per relevent standard specification | 142 | EA | 426
44 | SWR11771 | 1 | Erection of 24 V Battery along with charger including grouting, giving connections | Erection work | Erection of work | As per relevent standard specification | 1050 | EA | 1050
45 | SWR10404 | 26.7 | Stringing of bus with panther conductor including jumpering etc., complete to all the equipment in SS fixing to all clamps and equipment.(3 Conductors) | Stringing work | Stringing of work | As per relevent standard specification | 327.68 | M | 8749.056
46 | SWR10366 | 0.03 | Paving out and stringing of conductor by providing temporary stays, tensioning, sagging correctly, fixing strain points, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including transport of material from road side to location. | Erection work | Erection of work | As per relevent standard specification | 15242.33 | KM | 457.2699
47 | SWR10286 | 1 | Loading of 24 V Battery with charger | Loading work | Loading of work | As per relevent standard specification | 46 | EA | 46
48 | SWR10860 | 10 | Supply & spreading of 20mm machine crushed metal (HBG) including cost of conveneyance of all materials, labour charges etc complete for finished item of work and directed by the engineer incharge | Supply work | Supply of work | As per relevent standard specification | 2113 | M3 | 21130
49 | SMR40070 | 10 | Danger boards with clamps | Supply work | Supply of work | As per relevent standard specification | 116 | EA | 1160
50 | SWR33403 | 50 | S&F MS Security Fencing Mesh (2"X2") | Supply work | Supply of work | As per relevent standard specification | 3210 | M2 | 160500
51 | SWR11425 | 4 | Fixing of 150 W HP SV Lamp /LED Lamp/ Induction Lamp/ any other type yard lighting fixture | Supply work | Supply of work | As per relevent standard specification | 275 | SET | 1100
52 | SMR40072 | 3 | LC Boards | Supply work | Supply of work | As per relevent standard specification | 116 | EA | 348
53 | SMR40068 | 3 | Rubber mats ( 6’x3’) size for indoor SS | Erection work | Erection of work | As per relevent standard specification | 1386 | EA | 4158
54 | SMR40073 | 2 | Gum Boots (Pair) | Erection work | Erection of work | As per relevent standard specification | 693 | EA | 1386
55 | SMR24624 | 2 | S-Discharge Hse Pipe 50L Co2 FireExtgr | Supply work | Supply of work | As per relevent standard specification | 650 | EA | 1300
56 | SWR33041 | 27 | CRS Masonary CM(1:6) 2nd Sort | Supply work | Supply of work | As per relevent standard specification | 5829 | M3 | 157383
57 | SWR10604 | 1 | Un loading of 24 V Battery with charger | UNLoading work | UNLoading of work | As per relevent standard specification | 46 | EA | 46
58 | SWR10346 | 2 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation.RS Joists 150x75/175 x 85 mm | Erection work | Erection of work | As per relevent standard specification | 1934 | EA | 3868
59 | SWR34179 | 6 | Hire-JCB to Level & Clear the Site | Erection work | Erection of work | As per relevent standard specification | 2226.5 | H | 13359
60 | SWR33015 | 40 | Excavation in Ordinary Soil | Erection work | Erection of work | As per relevent standard specification | 539.54 | M3 | 21581.6
61 | SWR33028 | 2.3 | PCC with 40mm Metal (1:4:8) | Erection work | Erection of work | As per relevent standard specification | 4817 | M3 | 11079.1
62 | SWR33030 | 0.5 | PCC with 20mm Metal (1:2:4) | Erection work | Erection of work | As per relevent standard specification | 6258 | M3 | 3129
63 | SWR33052 | 10.82 | S&Filling with Borrowed Gravel | Supply work | Supply of work | As per relevent standard specification | 640 | M3 | 6924.8
64 | SWR34830 | 250 | Drill-165mm Bore Well 90M to 120M | Supply work | Supply of work | As per relevent standard specification | 520 | M | 130000
65 | SWR33608 | 6 | Geophysical Investgation Charges | Erection work | Erection of work | As per relevent standard specification | 7000 | EA | 42000
66 | SWR20579 | 70 | Supply of Betonite powder for earthing | Supply work | Supply of work | As per relevent standard specification | 650 | BAG | 45500
67 | SWR33052 | 10 | S&Filling with Borrowed Gravel | Supply work | Supply of work | As per relevent standard specification | 715 | M3 | 7150
68 | SWR22092 | 12.6 | survey line&cabl inc peg mark&tree clear | Erection work | Erection of work | As per relevent standard specification | 765 | KM | 9639
69 | SMR40070 | 2 | Danger boards with clamps | Erection work | Erection of work | As per relevent standard specification | 116 | EA | 232
70 | SMR22222 | 12 | Making of Outdoor/Indoor End Termination.Supply 33KV 3x400Sqmm Outdoor | Supply work | Supply of work | As per relevent standard specification | 4554 | EA | 54648
71 | SMR22223 | 3 | UG Cables Joints : Making of Straight through joints.Supply of 33KV 3x400SQmm Straight Through Joint Kit | Erection work | Erection of work | As per relevent standard specification | 24151 | EA | 72453
72 | SWR10382 | 3 | UG Cables Joints : Making of Straight through joints.33 KV 3x400 Sqmm Cable | Erection work | Erection of work | As per relevent standard specification | 5700.78 | EA | 17102.34
73 | SWR12004 | 120 | Raising of double run cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) 33 KV 3x400 Sqmm Cable | Erection work | Erection of work | As per relevent standard specification | 323.85 | M | 38862
74 | SWR10387 | 12 | Making of Outdoor/Indoor End Termination.Making 33 KV 3x400 Sqmm Cable Out Door/Indoor end termination | Erection work | Erection of work | As per relevent standard specification | 2764.76 | EA | 33177.12
75 | SWR10924 | 8 | Providing of earthing with various types of earth electrodes.Excavation of earth pit, supply of cast iron pipe with flange on one end (as per ISS7181/86) of nominal dia 125mm and 2.75 meters long in side the pit including supply and fixing RCC collars 0.75 meter dia (OD), 50mm thick and 0.60meters long complete as per APTRANSCO standards | Earthing work | Earthing of work | As per relevent standard specification | 9804 | EA | 78432
76 | SMR11485 | 240 | Supply of earthing pipe with materials of GI Flat 25X3 mm | Earthing work | Earthing of work | As per relevent standard specification | 105 | KG | 25200
77 | SWR10357 | 8 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Earthing work | Earthing of work | As per relevent standard specification | 1234.2 | EA | 9873.6
78 | SMR40091 | 8 | Earthing of Sub-Station.Supply of GI pipe 40 mm dia, 2 mtrs, 3mm hickness with bolts and nuts | Earthing work | Earthing of work | As per relevent standard specification | 733 | EA | 5864
79 | SWR10356 | 269 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc.Including the cost of cement | Erection work | Erection of work | As per relevent standard specification | 6579 | M3 | 1769751
80 | SWR10642 | 8 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable. | Erection work | Erection of work | As per relevent standard specification | 512.55 | EA | 4100.4
81 | SWR10640 | 8 | Painting of R.S Joist,Box poles including cross arms and clamps with one coat of red oxid and two coats of Al.paint including cost of paint and consumables | Erection work | Erection of work | As per relevent standard specification | 1132 | EA | 9056
82 | SWR10204 | 8 | Loading of R.S. Joists 175 x 85 mm | Loading work | Loading of work | As per relevent standard specification | 76 | EA | 608
83 | SWR10522 | 8 | UNLoading of R.S. Joists 175 x 85 mm | UNLoading work | UNLoading of work | As per relevent standard specification | 50 | EA | 400
84 | SWR23200 | 10000 | Cut-Tree Branch(LT/11/33)&Trnsprt Debris | Erection work | Erection of work | As per relevent standard specification | 4 | EA | 40000
85 | SWR21043 | 25 | Hiring of Crane for mounting equipment | Erection work | Erection of work | As per relevent standard specification | 1260 | LS | 31500
86 | SWR11230 | 4 | Loading of 11KV/33KV XLPE UG Cable for all sizes | Loading work | Loading of work | As per relevent standard specification | 1024 | DR | 4096
87 | SWR11231 | 4 | UNLoading of 11KV/33KV XLPE UG Cable for all sizes | UNLoading work | UNLoading of work | As per relevent standard specification | 1024 | DR | 4096
88 | SWR25089 | 3 | S&E-Smart RFID marker | Supply work | Supply of work | As per relevent standard specification | 2745 | EA | 8235
89 | SMR11609 | 200 | Cost of Pipes and slabs.supply of 4" DWC pipe | Supply work | Supply of work | As per relevent standard specification | 759 | M | 151800
90 | SMR40078 | 120 | Supply of 150 mm Hume pipe of class NP3 with compresive strength of 35N/mm2 for 28 days curing,barewall thickness of 30mm,1.25kG linear/meter and withstanding capability of 22.50KN/linear meter as per IS 458-1993. | Supply work | Supply of work | As per relevent standard specification | 303 | M | 36360
91 | SWR11001 | 760 | HDD (Horizontal Directional Drilling) in normal soil Laying of 33&11KV UG cable by HDD method with casing HDPE pipe of 160mm PN4 PE 80 as per IS4984 | Supply work | Supply of work | As per relevent standard specification | 5993 | M | 4554680
92 | SWR10114 | 8 | Excavation of pits in hard rock requiring blasting. (other than SS12Mtrs/Spun Pole 0.92 M x 0.92 M x 2.3 M (3.0" x 3.0" x 7.6") | Supply work | Supply of work | As per relevent standard specification | 1963.5 | EA | 15708
93 | SWR11267 | 8 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation.Box pole 12 Mtr | Erection work | Erection of work | As per relevent standard specification | 3901.37 | EA | 31210.96
94 | SWR10366 | 12.1 | Paving out and stringing of conductor by providing temporary stays, tensioning,sagging correctly, fixing strain points, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including transport of material from road side to location. 100 Sqmm Single Circuit (3 Conductors) | Erection work | Erection of work | As per relevent standard specification | 15242.37 | KM | 184432.677
95 | SWR10392 | 10 | Erection of AB Switch and aligment complete.Erection of 33 KV AB Switch including alignment and earthing | Erection work | Erection of work | As per relevent standard specification | 4770 | EA | 47700
96 | SWR11180 | 10 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) 11 Mtrs long PSCC Poles | Erection work | Erection of work | As per relevent standard specification | 431.97 | EA | 4319.7
97 | SWR10978 | 28 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation. 11 Mtrs PSCC poles | Erection work | Erection of work | As per relevent standard specification | 4336.85 | EA | 121431.8
98 | SWR10107 | 28 | Excavation of pits in all soils except hard rock requiring blasting.9.1 Mtrs PSCC Poles 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") 1.05 cum | Erection work | Erection of work | As per relevent standard specification | 700 | EA | 19600
99 | SWR11863 | 12 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading)Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 30 Km and upto 50 Km with Lorry for each trip | Erection work | Erection of work | As per relevent standard specification | 4372.74 | EA | 52472.88
100 | SMR11487 | 540 | Supply of earthing pipe with materials of MS bolts & nuts and washers etc of all sizes | Supply work | Supply of work | As per relevent standard specification | 91.25 | KG | 49275
101 | SMR11482 | 7 | Supply of earthing pipe with materials of CI earth pipe 100 mm dia, 2.75 mt long thickness 10mm with flange as per specication | Supply work | Supply of work | As per relevent standard specification | 3486 | EA | 24402
102 | SMR11485 | 210 | Supply of earthing pipe with materials Supply of GI Flat 25X3 mm | Earthing work | Earthing of work | As per relevent standard specification | 105 | KG | 22050
103 | SWR10357 | 7 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Earthing work | Earthing of work | As per relevent standard specification | 1234.2 | EA | 8639.4
104 | SWR10359 | 7 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Erection work | Erection of work | As per relevent standard specification | 386 | EA | 2702
105 | SWR10211 | 879 | Loading of 33 KV Pin insulators | Loading work | Loading of work | As per relevent standard specification | 3 | KI | 2637
106 | SWR10529 | 879 | Un Loading of 33 KV Pin insulators | UNLoading work | UNLoading of work | As per relevent standard specification | 3 | KI | 2637
107 | SWR10217 | 36 | Loading of 33 KV Pins | Loading work | Loading of work | As per relevent standard specification | 109 | BAG | 3924
108 | SWR10535 | 879 | UNLoading of 33 KV Pins | UNLoading work | UNLoading of work | As per relevent standard specification | 99 | LS | 87021
109 | SWR12416 | 138 | Loading of 33 & 11 KV Disc insulators | Loading work | Loading of work | As per relevent standard specification | 2 | KI | 276
110 | SWR10631 | 138 | UN Loading of 33 & 11 KV Disc insulators | UNLoading work | UNLoading of work | As per relevent standard specification | 2 | KI | 276
111 | SWR10618 | 6 | Loading of 33 KV Metal parts | Loading work | Loading of work | As per relevent standard specification | 65 | BAG | 390
112 | SWR10632 | 6 | UNLoading of 33 KV Metal parts | UNLoading work | UNLoading of work | As per relevent standard specification | 65 | BAG | 390
113 | SWR10642 | 8 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable. | Erection work | Erection of work | As per relevent standard specification | 512.55 | EA | 4100.4
114 | SMR40009 | 12 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | Erection work | Erection of work | As per relevent standard specification | 2181 | TO | 26172
115 | SWR10877 | 12 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Erection work | Erection of work | As per relevent standard specification | 851 | TO | 10212
116 | SMR40010 | 12 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.(*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | Erection work | Erection of work | As per relevent standard specification | 1293 | TO | 15516
117 | SWR10879 | 12 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.*) Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | Erection work | Erection of work | As per relevent standard specification | 482 | TO | 5784
118 | SWR10206 | 12 | Loading of M.S.Channels, Angles, Flats & Rods etc., | Loading Work | Loading of Work | As per relevent standard specification | 221 | TO | 2652
119 | SWR10524 | 12 | UNLoading of M.S.Channels, Angles, Flats & Rods etc., | UNLoading Work | UNLoading of Work | As per relevent standard specification | 185 | TO | 2220
120 | SWR10350 | 220 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation.Spun poles 12.5 Mtrs / 12.9Mtrs PSCC | Erection work | Erection of work | As per relevent standard specification | 4521.66 | EA | 994765.2
121 | SWR10109 | 150 | Excavation of pits in all soils except hard rock requiring blasting.12Mtrs/Spun Pole 0.92 M x 0.92M x 2.3M (3.0" x 3.0" x 7.6") 1.94 cum | Excavation Work | Excavation of Work | As per relevent standard specification | 842.78 | EA | 126417
122 | SWR11041 | 70 | Excavation of pits in hard rock not requiring blasting. (In hard murram / rock boulders)12Mtrs/Spun Pole 0.92 M x 0.92M x 2.3M (3.0" x 3.0" x 7.6") | Excavation Work | Excavation of Work | As per relevent standard specification | 1466.25 | EA | 102637.5
123 | SWR11185 | 220 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading)11/12.5/12.9M Spun poles | Loading Work | Loading of Work | As per relevent standard specification | 771.38 | EA | 169703.6
124 | SWR12140 | 14 | Replace Provd of double jumpers to 33KV SC line | Erection work | Erection of work | As per relevent standard specification | 525 | SET | 7350
125 | SWR11083 | 20 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation. 9.1 M long PSCC poles for Strut | Erection work | Erection of work | As per relevent standard specification | 2400 | EA | 48000
126 | SWR20308 | 20 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading)9.1 Mtrs long PSCC Poles | Erection work | Erection of work | As per relevent standard specification | 407.29 | EA | 8145.8
127 | SWR10107 | 20 | Excavation of pits in all soils except hard rock requiring blasting 9.1 Mtrs PSCC Poles 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") 1.05 cum | Excavation Work | Excavation of Work | As per relevent standard specification | 700 | EA | 14000
128 | SWR11180 | 10 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading)11 Mtrs long PSCC Poles | Erection work | Erection of work | As per relevent standard specification | 431.97 | EA | 4319.7
129 | SWR10978 | 10 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation.11 Mtrs PSCC poles | Erection work | Erection of work | As per relevent standard specification | 4336.85 | EA | 43368.5
130 | SWR10107 | 10 | Excavation of pits in all soils except hard rock requiring blasting.9.1 Mtrs PSCC Poles 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") 1.05 cum | Excavation Work | Excavation of Work | As per relevent standard specification | 700 | EA | 7000
131 | SMR11683 | 72 | Supply of M+3 Tower (Galvanized) | Supply work | Supply of work | As per relevent standard specification | 140674.3 | EA | 10128549.6
132 | SWR11850 | 72 | Erection of M+3 Tower (Galvanized) | Erection work | Erection of work | As per relevent standard specification | 64576 | EA | 4649472
133 | SMR11684 | 144 | Supply of material for Extension of 3Mtrs for M+3 (Galvanized) | Supply work | Supply of work | As per relevent standard specification | 28520.64 | EA | 4106972.16
134 | SWR11851 | 144 | Erection of Extension of 3Mtrs for M+3 (Galvanized) | Erection work | Erection of work | As per relevent standard specification | 5168.95 | EA | 744328.8
135 | SWR12085 | 30 | Excavation of pits in all soils except hard rock requiring blasting.M-Type Tower (1.2M x 1.2M x 3.3M ) 4.752cum | Excavation Work | Excavation of Work | As per relevent standard specification | 1997.93 | EA | 59937.9
136 | SWR12090 | 42 | Excavation of pits in hard rock not requiring blasting. (In hard murram / rock boulders)M-Type Tower (1.2M x 1.2M x 3.3M ) 4.752cum | Excavation Work | Excavation of Work | As per relevent standard specification | 3592.95 | EA | 150903.9
137 | SWR11180 | 28 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading)11 Mtrs long PSCC Poles | Erection work | Erection of work | As per relevent standard specification | 431.97 | EA | 12095.16
138 | SWR10108 | 5 | Excavation of pits in all soils except hard rock requiring blasting 11 Mtrs PSCC Poles/ Box poles 0.75 M x 0.9 M x 1.95 M (1.31 cum) | Excavation Work | Excavation of Work | As per relevent standard specification | 730 | EA | 3650
139 | SWR11267 | 5 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation.Box pole 12 Mtr | Erection work | Erection of work | As per relevent standard specification | 3901.37 | EA | 19506.85
140 | SWR10640 | 10 | Painting of R.S Joist,Box poles including cross arms and clamps with one coat of red oxid and two coats of Al.paint including cost of paint and consumables | Erection work | Erection of work | As per relevent standard specification | 1132 | EA | 11320
141 | SWR10204 | 10 | Loading of R.S. Joists 175 x 85 mm | Loading Work | Loading of Work | As per relevent standard specification | 76 | EA | 760
142 | SWR10522 | 10 | Un loading of R.S. Joists 175 x 85 mm | UNLoading Work | UNLoading of Work | As per relevent standard specification | 50 | EA | 500
143 | SWR10356 | 3.24 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc.Including the cost of cement | Erection work | Erection of work | As per relevent standard specification | 6579 | M3 | 21315.96
144 | SWR10642 | 5 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable | Erection work | Erection of work | As per relevent standard specification | 512.55 | EA | 2562.75
145 | SWR10133 | 5.6 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading )Above 20 KM and upto 30 KM | Erection work | Erection of work | As per relevent standard specification | 476.34 | TO | 2667.504
146 | SWR10869 | 3.1 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, inluding erection. | Fabrication work | Fabrication of work | As per relevent standard specification | 3426 | TO | 10620.6
147 | SMR40009 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete.Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | Erection work | Erection of work | As per relevent standard specification | 2181 | TO | 6761.1
148 | SWR10877 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete.Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Erection work | Erection of work | As per relevent standard specification | 851 | TO | 2638.1
149 | SMR40010 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete.*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | Earthing work | Earthing of work | As per relevent standard specification | 1293 | TO | 4008.3
150 | SWR10879 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.*)(*) Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | Fabrication work | Fabrication of work | As per relevent standard specification | 482 | TO | 1494.2
151 | SWR12271 | 3 | Erection of 33 KV AB Switch in already existing sub-stations (involving LCs) | Fabrication work | Fabrication of work | As per relevent standard specification | 5342.25 | EA | 16026.75
152 | SWR10239 | 3 | Loading of 33KV 800 Amps AB Switch | Loading Work | Loading of Work | As per relevent standard specification | 126 | EA | 378
153 | SWR10557 | 3 | UNLoading of 33KV 800 Amps AB Switch | UNLoading Work | UNLoading of Work | As per relevent standard specification | 79 | EA | 237
154 | SWR10396 | 2 | Erection of 33 KV LAS station/Line type including earthing | Erection work | Erection of work | As per relevent standard specification | 880 | SET | 1760
155 | SWR10404 | 26.7 | Stringing of bus with panther conductor including jumpering etc., complete to all the equipment in SS fixing to all clamps and equipment.(3 Conductors) | Erection work | Erection of work | As per relevent standard specification | 327.68 | M | 8749.056
|  |  |  | Total Amount (Excluding GST) |  |  |  |  | 30132168.4789
|  |  |  | Gst@18% |  |  |  |  | 5423790.3262
|  |  |  | Total Amount (Including GST) |  |  |  |  | 35555958.8051